Pump Management Display

144 RGB-leds, matrix 24x6, 4 bytes per pixel

16 pump circuits:
1. solar
2. boiler top
3. boiler bottom
4. buffer 1 (ground collector)
5. buffer 2 (water storage)
6. buffer 3 (floor)
7. solar to boiler bottom
8. boiler bottom to solar
9. boiler top to buffer2
10. buffer2 to boiler bottom
11. boiler to floor
12. floor to boiler
13. buffer2 to floor
14. floor to buffer2
15. floor to ground collector
16. ground collector to floor

3 pumps
1. Solar pump (charge boiler)
  1. boiler to solar
  2. solar
  3. solar to boiler
2. Floor pump (floor heating)
  1. boiler top
  2. boiler top to floor
  3. floor
  4. floor to boiler bottom
  5. boiler bottom
3. Floor pump (floor cooling)
  1. floor to ground collector
  2. ground collector
  3. ground collector to floor
  4. floor
4. Floor pump (uncharge buffer2)
  1. boiler top
  2. boiler top to floor
  3. floor
5. Buffer 2 pump (charge buffer2)
  1. boiler top
  2. boiler top to buffer2
  3. buffer2
  4. buffer2 to boiler bottom
  5. boiler bottom
6. Buffer 2 pump (uncharge buffer2)
  1. floor to buffer2
  2. buffer2
  3. buffer2 to boiler bottom
Uncharge Buffer2
Solar pump: charge boiler
Floor pump: uncharge buffer2
Buffer 2 pump: uncharge buffer2

Valve M1: A (floor to buffer2)
Valve M2: B (floor to buffer2)
Valve M3: A (closed)
Valve M4: A (buffer2 to boiler)

Charge Buffer2, cool floor

Solar pump: charge boiler
Floor pump: return to buffer1
Buffer2 pump: uncharge boiler

Valve M1: A (floor to ground collector)
Valve M2: A (boiler to buffer2)
Valve M3: B (ground collector to floor)
Valve M4: A (buffer2 to boiler)

Solar pump: charge boiler
Floor pump: return to boiler
Buffer2 pump: off

Valve M1: B (floor return to boiler)
Valve M2: B (ground collector to buffer2)
Valve M3: A (closed)
Valve M4: A (buffer2 to boiler)